ECH-Sepharose Coupling of Kinase Inhibitor Beads – for 16 ml 50% slurry final volume of each linker-adapted, free amino group inhibitor

(16 ml slurry = ~320 MIB/MS samples if 50 µl beads are used for each sample)

Reference: GE Healthcare ECH Sepharose 4B Instructions (71-7093-00 AD)

General information:

~16 µmols inhibitor per ml sepharose (One batch: ~130 µmols inhibitor per 8 ml Sepharose)

~200 µmols EDC (N-(3-Dimethylaminopropyl)-N′-ethylcarbodiimide hydrochloride) per ml Sepharose (153.6 mg EDC per 4 ml ECH Sepharose 4B x 2 = 4.9 g needed)

~Solvent for inhibitors: 50:50 (v:v) dimethylformamide (DMF): ethanol (EtOH) (DMF stored in fume hood cabinet, 100% ethanol in plastic jugs can be used to make DMF:EtOH, which should be stored in the cabinet). Make this fresh!

| Inhibitor | MW | ~130 µmols |
| --- | --- | --- |
| PP58 | 458.32 | 60 mg |
| Shokat | 364.40 | 47.5 mg |
| VI16832 | 391.47 | 51 mg |
| CTx0294885 | 437.93 | 57 mg |
| UNC2147A (AKT) | 348.87 | 45.5 mg |
| Purvalanol-NH2 | 531.09 | 69 mg |
| BKM120 | 425.42 | 55.3mg |

Preparation of Inhibitors:

1. Inhibitor stocks, store in desiccator at 4ºC.

2. Weigh out 130 µmols inhibitor per 8 mls sepharose.

3. Dissolve the inhibitor in 8 ml of 50:50 (v:v) DMF:EtOH in a 20-ml scintillation vial.  PP58, AKT, and Shokat** require sonication (20 min) to dissolve the inhibitor; Shokat may require 3 x 20 min.

4. If you notice any debris in the inhibitor solution (except for Shokat), pass the solution through a 0.45-µm PTFE syringe filter.

Preparation of Beads>Coupling Reaction:

1. Prepare 8 ml ECH Sepharose 4B (or EAH Sepharose 4B for Purvalanol B) per 130 µmols inhibitor. Allow to settle in 50 ml conical. Prepare 50% slurry using 20% ethanol

2. Distribute 16 ml 50% slurry (=8 ml Sepharose 4B) into a 50ml conical for each inhibitor.

3. Spin in clinical centrifuge, 500g, 5 min.

4. Carefully aspirate supernatant.

5. Wash each column with an equal volume of 50:50 (v:v) DMF:EtOH (8 ml per 50 ml conical tube of each inhibitor).

6. Spin in clinical centrifuge, 500 rcf, 5 min.

7. Carefully aspirate supernatant.

8. Add the 8 ml dissolved inhibitor to each labeled 50 ml conical.

9. For the subsequent coupling reaction, add 307.2 mg EDC per 50 ml conical.

10. Vortex to ensure EDC is dissolved

11. Place the columns on a rotator in the dark at room temperature overnight.

Blocking of Excess Remaining Groups: (for making blocking beads using only ECH beads)

1. Prepare 1 M ethanolamine in 50:50 (v:v) DMF:EtOH (for inhibitor-bound ECH columns) For 10 ml: 9.4 ml 50:50 (v:v) DMF:EtOH + 0.6 ml ethanolamine) Make 50 ml ECH wash, 10 ml EAH wash).

2. Spin 50 ml conical tubes with beads, inhibitor, and EDC for 5 min, 500g, 4ºC.

3. Remove supernatant to DMF:EtOH waste.

4. Add 8 mL 1M ethanolamine in DMF:EtOH per 50 mL conical.

5. For the subsequent blocking reaction, add 307.2 mg EDC to each conical.  Vortex to ensure EDC is dissolved.

6. Place the columns on a rotator at room temperature in the dark for 1.5 hours.

Washing:

1. Spin 5 min, 500g. Remove supernatant to waste.

2. Wash the Sepharose with 8 ml of 50:50 (v:v) DMF:EtOH per 50ml conical to remove residual ethanolamine.

3. Prepare 1x solutions of the 2x Acetate ECH/EAH Wash and the 2x Tris-HCl ECH/EAH Wash using LC-MS-grade water.

4. Do the following washes sequentially, inverting or gently vortexing to wash, then spin 50ml tubes at 500g, 5 min in between. Use a column volume  (8ml) of buffer for each 50ml conical each time. Need ~ 16 ml each 1x Tris and 1x Acetate wash per inhibitor bead prep).

a. Acetate wash

b. Tris wash

c. Acetate wash

d. Tris wash

e. 20% ethanol (20% ethanol in LC/MS-grade water) wash

5. Resuspend each 50 ml bead conical in an equal volume of 20% ethanol (for ~16 ml total)

6. Store the Sepharose-inhibitor beads at 4ºC.

7. Test by passing 2mg HEK293T lysate over 200 ul bead slurry and search (non-LFQ) and compare number of kinases identified with 1+ unique peptide to historical capture data for the given inhibitor bead.

Reagents:

- ECH Sepharose 4B (GE Healthcare: Cat#: 17-0571-01)—in fridge

- EDC (Sigma: Cat#: E1769-1g)—in -20 freezer, top shelf of door

- Ethanolamine Reagent Plus, 99% (Sigma-Aldrich: Cat#: 110167-1L)—in cabinet under fume hood

- Glacial Acetic Acid (Fisher: Cat#: BP2401-212)—with acids in Chris’ cabinet

- 200-proof Ethanol—1 pint (Fisher: Cat#: 04355222EA)—above Speedvac

- Pierce Water, LC-MS Grade (Pierce: Cat#: 51140)—above SpeedVac

- Ethyl Acetate (J.T. Baker Cat#: 9260-02 or VWR Cat#: JT9260-2)—fume hood cabinet

10. 2x Acetate ECH/EAH Wash:

5.7 ml acetic acid

29.25 g. NaCl

q.s. to 500 ml with LC-MS-grade water, adjust to pH 4.0 with NaOH

Filter (0.22-µm filter flask)

11. 2x Tris-HCl ECH/EAH Wash:

12.11 g Trizma

29.25 g NaCl

q.s. to 500 ml with LC-MS-grade water, adjust to pH 8.3 with HCl

Filter (0.22-µm filter flask)

(Both wash buffers are stored in fridge)

Disposables:

50 ml conical tubes

20-ml borosilicate glass scintillation vials with white urea caps (Fisher:

Cat#: 03-337-5)—in cabinet next to Shelley’s desk

0.45-µm PTFE syringe filters and syringes—tissue culture

Based on Daub et al., Mol. Cell 2008 (PMID: 18691976)