MIB/MS Protocol

(Multiplexed Inhibitor Bead/Mass Spectrometry)

PART 1

- Harvesting cells or tissue for MIB/MS

(goal = 2-5 mg lysate in ≤ 4 mL, or as much as possible from tissue)

Cell lines – depends on cell density and specific cell line--for 5 mg yield, 2 to 4 x 15-cm plates

Prep:  Make up fresh MIB Lysis buffer or thaw frozen MIB Lysis Buffer on ice.

Try to keep protein concentration less than 5mg/mL for optimal activity of phosphatase inhibitors.

Prechill tubes.

Wear safety goggles and lab coat, if pulverizing tissue.

Procedure for cells coming directly from plates:

- Wash each plate with ice-cold PBS. Keep plates on ice and work quickly.

- Aspirate PBS with plate on bed of sloped ice.

- Add 1 mL ice-cold MIB Lysis Buffer to plate (or less depending on cell density)

- Carefully and thoroughly scrape cells, then collect into prechilled 15-mL Falcon tube on ice.

- Incubate, on ice, for 10 min, inverting occasionally.

- Proceed to **

Procedure for cells that were pelleted and frozen at -80°C:

- Add 1 mL ice-cold MIB Lysis Buffer to plate (or less depending on cell density)

- Incubate cells on ice in MIB Lysis Buffer for 10 min, inverting occasionally.

- Proceed to **

**For both

- Sonicate samples at 30-40% amp (for cells) or 40-60% amp (for tissue), 3 x 10 sec.  Cool each sample 30 seconds on ice between pulses.

- Transfer lysate to 2 mL microcentrifuge tubes.

- Centrifuge, top speed (13200 rpm), 10 min at 4C to clarify

- (Optional) Filter clarified lysate through 0.45 µm syringe filter.

- Filter clarified lysate through 0.20 µm syringe filter.

  - If you suspect low protein amount, skip this step.  Filtering will cause loss of sample.

- Store clarified lysate at -80C.

  - Can do Bradford assay before freezing, or may wait until just before MIB columns procedure.

Tissue

- Prepare layer of dry ice pellets in small Tupperware container.

- Rinse and clean mortar and pestle in pico water, 70% ethanol, and pico water again.

- Place pestle inside mortar, then place on dry ice bed.

- Pipet 1-2 mL MIB lysis buffer into mortar.  When it freezes, then add tissue sample.

  - Depending on size of tumor or tissue fragment, pipet approx. 500 µl to 2 mL MIB Lysis Buffer into mortar.  i.e. Half of raisin sized tissue: ~1 mL

- Move mortar from dry ice bed to benchtop. Press and turn pestle to pulverize tissue, being careful not to splash lysate.  Return to dry ice if starts to warm too much.

- Transfer lysate to pre-chilled 14-mL Falcon tube.

- Add MIB Lysis Buffer (up to 2-4 mL total) to mortar and collect residual sample into tube.

- Incubate pulverized tissue in MIB Lysis Buffer on ice 15-20 min, inverting occasionally.

- Rinse and clean mortar and pestle (see step 2) and repeat for additional tissue samples.

- Go to Step 7 (cell line protocol) to sonicate, centrifuge, and filter.

PART 2

- MIBs (for competition assay see Appendix)

- Do the prep

  - Chill microcentrifuge and clinical centrifuge to 4°C

  - Heat bead bath to 95°C

  - Make solutions, if needed – DTT, Iodoacetamide, 0.1% SDS low salt MIB buffer, elution buffer

  - High and low salt buffers stored at 4°C

- Thaw samples on ice, and keep on ice until ready to pour over columns.

Of final MIB mix:

16.67% OR 14.3% each:

- PP58

- Purvalanol B

- UNC-21474 (AKT)

- VI-16832

- BKM-120

- Shokat

- CTX (if doing binding competition assay)

Bradford assay to determine concentration. Equalize sample volumes using cold MIB Lysis Buffer to at least 2 mL per sample.

  - Want sample concentration 0.5-1 mg/mL

- Set up Biorad Polyprep columns on ring stand, snapping off ends.

- Prepare MIB mix.

  - Each inhibitor in MIB mix is stored at 4°C.  Check that there is a 1:1 ratio of bead to 20% ethanol.  Add more 20% ethanol if needed.

  - Will use 200 µL total slurry of MIB mix per sample.

  - Prepare AT LEAST 10% extra.

  - Ensure MIBs are thoroughly resuspended to prevent bead aggregates from impeding gravity flow.

  - Use one inhibitor/sample, not a mix for bead testing

- Vortex MIB mix to ensure homogenous slurry before pipetting 200 µL onto each column. Save any remaining MIB mix for subsequent experiments, store at 4°C.

- Wash MIB columns with 2 x 1 mL HIGH SALT MIB Wash Buffer, collecting wash flow-through in Tupperware.

- Bring samples to 1M NaCl using cold filtered Ambion 5M NaCl:

Add 0.2125*(volume of sample) in conical tubes on ice.

- Gently pour entire volume of lysate onto each MIB column, then use pipet to collect residual.

- All sample flow-through and subsequent washes may be collected in waste Tupperware container.

- Wash each MIB column with 5 mL HIGH SALT MIB Wash Buffer.

- Wash each MIB column with 5 mL LOW SALT MIB Wash Buffer.

- Wash MIB columns with 500 µL 0.1% SDS in LOW SALT MIB Wash Buffer. Make fresh with filter sterilized 10% SDS in MS-grade water.

- Firmly secure MIB columns with yellow caps.

Use LC-MS grade reagents and low-retention tubes/tips when contacting samples.

- Add 500 µL MIB Elution Buffer.

- Cap top of MIB columns using white caps, and ensure yellow caps are firmly in place.

- Boil MIB columns in 95C bead bath for 15 min.

- Carefully remove top white cap. MUST REMOVE TOP CAP BEFORE REMOVING YELLOW BOTTOM CAP TO RELEASE PRESSURE.

- Uncap 1.5 mL low-retention microcentrifuge tube and carefully remove yellow cap from column.

- Collect eluate in 1.5mL low-retention tube by applying pressure to top of column or allowing to gravity flow into tube. Collect additional eluate from yellow cap with a gel-loading tip if present.

- Repeat elution and collection using 500 µL MIB Elution Buffer (steps 18-24). Collect in same tube.

- Can save small amount (5%) of elution for western blot if desired.

- Dithiotreitol and Iodoacetamide Treatment

- Samples should now be approximately 1 mL.

- Add 10 µL of 500 mM DL-DTT (made fresh in MS-grade water) to each tube. (38.6mg in 500µL = 500mM, you will need 20 µL per sample)

- Incubate samples at 60C for 25 min in heat block.

- Allow samples to come to room temp on ice.

- Add 100 µL of 200 mM iodoacetamide (made fresh in MS-grade water) to each tube. (37mg in 1mL = 200mM)

- Incubate samples at RT in the dark for 30 min.

- Following incubation, bring final concentration of DL-DTT to 10 mM by adding 10 µL of 500 mM stock (to stop alkylation step).

- Pour samples onto Amicon Millipore Amicon Ultra-4 (10K cutoff) spin columns to concentrate samples (Cat# UFC801008 or UFC801096). Save sample tubes.

- Centrifuge 30 min at 3000 rpm, 4C.

- Transfer concentrated samples (should now be ~100-150 µL) to previous low-retention microcentrifuge tubes using a gel loading tips.

- Methanol/Chloroform Precipitation of Proteins

- Add 400 µL MS-grade methanol to each sample. (For MS solutions, pour needed volume from amber bottles into 20 ml glass scintillation vials to avoid pipetting from stock bottles with plastic)

- Vortex to mix and spin down briefly.

- Add 100 µL MS-grade chloroform to each sample.

- Vortex to mix and spin down briefly.

- Add 300 µL MS-grade water.

- Vortex vigorously 15 seconds to mix.

- Centrifuge at top speed, 4C for 10 min. Ensure interphase has formed.

- Carefully remove upper aqueous layer by pipetting, leaving a small amount above the chloroform. Do not draw up white interphase containing proteins.

- Add 500 µL MS-grade methanol.

- Vortex to mix and centrifuge at top speed, 4C for 10 min.

- Ensure that opaque protein pellet is visible at bottom of tube. May not be visible if ≤ 2mg protein.

- Carefully remove supernatant by pipetting leaving approximately 50 ul, ensure entire pellet remains in tube. If pellet becomes dislodged, may need to perform additional methanol wash.

- Add 500 µL MS-grade methanol, vortex gently and repeat spin.

- Carefully remove methanol, leaving ~50 ul, but do not disturb pellet.

- (Optional) Can repeat wash one more time (Steps 13 and 14) for larger input amounts (≥5 mg).

- Dry down samples completely in speed vac (~10-15 min), preset #1, manual run, and proceed to overnight trypsin digestion. Thaw trypsin buffer and warm vial of trypsin (1 vial per 10 samples) while samples are drying.

- Trypsin Digestion

  - For label-free runs, resuspend sample in 50 µL 50mM HEPES, pH 8 (in MS water) For TMT-labeled runs, resuspend in 100 µL 0.1M TEAB (diluted with MS water) provided in TMT kit.

- Add 40 µL Trypsin Buffer and add to glass vial of Sequencing-grade Modified Trypsin (Porcine).

- Flick to resuspend trypsin, do not vortex.

- Allow ~10 min at room temperature for trypsin to dissolve, 40 µL for 20 µg will be 0.5 µg/µL.

- Add 4-5 µL trypsin solution per sample, combining vials beforehand if necessary. Want ~2 ug trypsin per sample and check total trypsin volume to be sure you do not run out.

- Place sample tubes in Eppi rack and place in 37C incubator in Clapp lab overnight.

DAY 3

- TMT Labeling (if multiplexing, otherwise skip to G)

- TMT reagents –6-plex (Cat#:90064, Pierce) or 10plex are stored at -20°C.

- Spin to bring powder to bottom of tube.

- TMT reagents (0.8mg amount) are sufficient to label six independent MIB samples. In advance, can resuspend each tag in acetonitrile and dry down aliquots. Resuspend in 40 µl acetonitrile.

- Vortex to mix. Allow 5 minutes for reagent to dissolve, then spin down.

- Transfer 40 µl of one TMT reagent vial to each trypsin digested sample (100 µl).  Vortex to mix, spin down.

- Incubate the tubes in the dark at room temperature for 2 hours.

- Ethyl Acetate Extraction (for removal of Triton)

- In fume hood, prepare necessary volume of water-saturated ethyl acetate, need 3 mL per each sample: use 2 ml MS-grade water and top off with ethyl acetate in 20mL glass vial for ~1:10 ratio and vortex thoroughly. Water will sink to the bottom of the vial. Ethyl acetate absorbs water readily, so you need to saturate ethyl acetate before extracting samples to prevent sample loss.

- In fume hood, pipet 1 mL of ethyl acetate (top layer) to each sample and vortex thoroughly.

- Spin sample tubes at 13,000 rpm for 5 minutes.

- In fume hood, carefully remove upper layer (ethyl acetate) leaving ~50 ul ethyl actetate.

- Repeat extraction 2X (Steps 2-4).

- Evaporate residual ethyl acetate on a 60C heat block in fume hood for 3 minutes.

- Dry down samples in SpeedVac and proceed with C-18 PepClean (H).

- STOPPING POINT: Dried samples may also be stored in -80-degree freezer for C-18 at a later date.

- C-18 PepClean

- These spins are done at room temperature.

- Use LOW RETENTION TIPS/TUBES FOR ALL STEPS.

- Prepare solutions with MS-grade reagents, in water, in 20 ml GLASS scintillation vials.

- Place C-18 Spin Columns (Pierce, Cat# 89870 or 89873) in 2 mL centrifuge tubes to collect flow-through.

- Cut caps off of 2 ml tubes to increase capacity on rotor and use every other spot.

- Wet/activate column resin by centrifuging 200 µl of 50% ACN in MS water for 1 minute at 4400 rpm (pipet along edges to collect resin together in the bottom of the tube).

- Repeat 50% ACN wash.

- Equilibrate column by centrifuging 200 µl of 5% ACN, 0.5% TFA for 1 min at 4400 rpm.

- Repeat 5% ACN, 0.5% TFA equilibration.

- Resuspend dried sample pellet in 200 µl of fresh equilibration buffer (5% ACN, 0.5% TFA in MS water), load onto the wetted column and centrifuge for 1 min at 4400 rpm.

- Add flow-through back to corresponding sample tube, pipet up and down.

- Reload flow-through from previous step to complete sample loading onto C-18 and centrifuge.

- Peptides are now bound to the C-18 resin in the column.

- Wash column with 200 µl of 5% ACN, 0.5% TFA, centrifuging for 1 min at 4400 rpm.

- Repeat 5% ACN, 0.5% TFA wash.

- Elute peptides into a new 2 mL low-retention tube with caps removed by running 2 x 25 µl of 50% ACN over the column and centrifuging for 1 min at 4000 rpm.

- Transfer entire 50 ul to empty Nest column (no C-18) into 2 ml collection tube with cap removed and centrifuge 1 min, 4000 rpm to remove any particulate matter.

- Transfer entire 50 ul to a new 1.5 ml low-retention tube, labeled for accurate identification (if you simply numbered 1-24, these tubes should have a more descriptive ID).

- Dry down the samples in SpeedVac, preset #1, manual run (~30-45 min, do not over-dry).

- Samples are ready to be resuspended in 2-5 % acetonitrile, 0.1% formic acid for MS analysis.

- STOPPING POINT. Samples may be stored as dry peptides in the -80 until ready for MS runs.

BUFFER RECIPES:

LOW SALT MIB Wash Buffer		MIB Lysis Buffer (=low salt MIB Buffer + inhibitors, filtered)

50 mM HEPES, pH 7.5			50 mM HEPES, pH 7.5

150 mM NaCl					150 mM NaCl

0.5% Triton X-100				0.5% Triton X-100

1 mM EDTA					1 mM EDTA

1 mM EGTA					1 mM EGTA

—pH to 7.5, then add Triton—		10 mM NaF

—Filter sterilize—				2.5 mM NaVO4

—Store 4C—				Protease Inhibitor Cocktail (Roche), 2 tablets to 50 mL

Phosphatase Inhibitor Cocktail 2 (Sigma P5726), 500µL/50mL

HIGH SALT MIB Wash Buffer		Phosphatase Inhibitor Cocktail 3 (Sigma P0044), 500µL/50mL

50 mM HEPES, pH 7.5			—Filter sterilize—

1 M NaCl					—Aliquot, store -20C—

0.5% Triton X-100

1 mM EDTA					5M NaCl – Ambion (AM9759)

1 mM EGTA

—Filter sterilize—				MIB Elution Buffer

—Store 4C—				0.5% (w/v) SDS

1% (v/v) -mercaptoethanol

SDS Wash Buffer				0.1M Tris-HCl, pH 6.8

0.1% (w/v) in low salt MIB Buffer		LC-MS grade water

—Filter sterilize—

200mM Sodium Orthovanadate (NaVO4) stock:

- 740 mg NaVO4 in 20mL fresh 100mM Tris-HCl

- pH to 9.0 with concentrated HCl – will become yellow

- Boil for 10 minutes or until solution becomes clear

- Aliquot and store at -20 degrees C.

LC-MS Grade water from Pierce (Cat#: 51140)

LC-MS Grade Methanol (Omnisolve) from Pierce (Cat#: UN1230)

LC-MS Grade Chloroform (Omnisolve) from Pierce (Cat#: UN1888)

LC-MS Grade Acetonitrile from Pierce (Cat#: 51101)

Ethyl Acetate from J.T. Baker (Cat#: 9260)

Low retention 1.5-mL microcentrifuge tubes from Fisher (Cat#: 02-681-320)

Biorad Poly Prep Chromatography Columns, Cat#: 731-1550

- Appendix – for MIB Competition Assay

- Goal – pre-incubate 2 mg lysate with vehicle and range of concentration (typically 10 nM, 100 nM, and 1000 nM) of drug of interest. Passing lysate over MIBs after this will show which kinases the compound bound to and prevented MIB capture, identifying the direct targets of the drug.

- Normalize tissue or cell lysate to 2 mg per 1.8 ml MIB buffer (low-salt). Will need 16 mg total for a vehicle-10-100-1000 test of each compound in duplicate.

- Distribute 1.8 ml of lysate (containing 2 mg protein) to 8 x 15 ml conical tubes.

- Drug stocks are typically 10mM in DMSO (vehicle) but double-check this before proceeding. Could be different stock concentration or vehicle (may be ethanol or water rather than DMSO).

- Will add 200 ul of vehicle and drug to each tube, bringing them to 2 ml total.

- Need to make 10X stocks of vehicle and drug to add and bring to final of 10-100-1000nM. Prepare vehicle the same as you prepare 1000nM 10X stock.

- Thaw drug aliquot (dissolved in DMSO in this example) and dilute 1:1000 by adding 5 ul drug to 5 ml MIB buffer (low-salt) and mix by vortexing.

- This makes 5 ml of 10,000 nM drug (10X for 1000 nM tubes).

- Add 5 ul vehicle (DMSO in this example) in 5 ml MIB buffer (low-salt).

- Dilute 10X 1000nM drug solution 1:10 by adding 0.5 ml drug to 4.5 ml MIB buffer (low-salt) for 1000 nM drug (10X for 100 nM tubes) and mix by vortexing.

- Dilute 10X 100nM drug solution 1:10 by adding 0.5 ml drug to 4.5 ml MIB buffer (low-salt) for 100 nM drug (10X for 10 nM tubes) and mix by vortexing.

- Proceed through set-up up to B4 above.

- Add 200 ul vehicle (DMSO) and 200 ul each 10X drug solution to each of 8 tubes as quickly as possible.

- Cap tubes and place on rocking platform in cold room for 30 min.

- During this time, prepare MIB columns (including CTX bead) and wash them (B5-7).

- After 30 min, add 0.425 ml 5M NaCl to each 15 ml conical tube. Cap and invert to mix.

- Pour 15 ml conical tubes over MIB columns and proceed as B9 above through protocol.

  - DMSO replicate 1

  - DMSO replicate 2

  - Drug 10nM replicate 1

  - Drug 10nM replicate 2

  - Drug 100nM replicate 1

  - Drug 100nM replicate 2

  - Drug 1000nM replicate 1

  - Drug 1000nM replicate 2